## Instructions
Instructions for Analyzing EpiTect Methyl II PCR Assay Results with this Template:
Generally, only change data in yellow cells. Gray and white cells contain formulas for calculation or results. Please do not change them.
1. Raw Data Worksheet: Enter the gene symbol(s) and catalog number(s) for the assays performed in the appropriate cells. Enter the Ct values for each digest for each sample characterizzed with each assay into the appropriate cells. Each row accomodates one assay and up to eight samples. The template supports up to 24 assays. If you choose to test digestion efficiency with control primer sets, paste the Ct values for SEC (methylation sensitive enzyme control) and DEC (methylation dependent enzyme control) into the appropriate cells at the bottom of the table as well.
| A | B | C | D | E | F | G | H | I | J
1 | A: Samples; C: 1; G: 2
2 | Symbol | Catalog Number | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double
3 | FOXP3 | EPHS115010-1A | 22.29 | 31.77 | 23.2 | 34.21
4
5
6
…
27 | SEC | EPHS115450-1A | 22.29 | 31.77 | 23.2 | 34.21
28 | DEC | EPHS115451-1A | 22.29 | 23.2 | 31.77 | 34.21
NOTE: A sample data set is included in this template for demonstration purposes only. Simply replace the existing data with your own using the Copy and Paste operations described above.
3. QC Data Report Worksheet: For each gene in each sample, the template automatically calculates and displays the analytical window (W) and the percentage of DNA refractory (R) to restriciton enzyme digestion. If the analytical window is less than three (W < 3) meaning that the refractory DNA percentage is greater than 12.5 percent (R > 12.5%), then the digestions are not complete and the analysis is reported as a "Failure".
4. Results Worksheet: For each gene in each sample, the template automatically calculates displays the methylation status as the percentage of methylated (M) and unmethylated (UM) DNA in the "Results" worksheet. If you choose to test digestion efficency with the control primer sets, SEC and DEC will monitor the enzyme A and B respectively. When ΔCt (Ms-Mo) ≥4 for SEC or ΔCt(Md-Mo) ≥4 for DEC, meaning that more than 93.8% of control DNA molecules were digested, the restriction enzyme is active and digests DNA efficienctly. Under these conditions, SEC and DEC will report that they "Pass", otherwise they will report that they "Fail".
5. Calculations Worksheet: To view the formulas and equations used to calculate the QC Data and Results, you may review but not alter the "Calculations" worksheet. OR please refer to the "EpiTect Methyl II PCR Assay Handbook".
Version 2.0, 03/02/2012

## Raw Data
Samples |  | 1 |  |  |  | 2 |  |  |  | 3 |  |  |  | 4 |  |  |  | 5 |  |  |  | 6 |  |  |  | 7 |  |  |  | 8
Symbol | Catalog Number | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double
FOXP3 | EPHS115010-1A | 22.29 | 31.77 | 23.2 | 34.21
SEC | EPHS115450-1A | 22.29 | 31.77 | 23.2 | 34.21
DEC | EPHS115451-1A | 22.29 | 23.2 | 31.77 | 34.21

## QC Data Report
Samples |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8
Symbol | Catalog Number | W | R | W | R | W | R | W | R | W | R | W | R | W | R | W | R
FOXP3 | EPHS115010-1A | 11.92 | 0.02581%
SEC | EPHS115450-1A | 11.92 | 0.02581%
DEC | EPHS115451-1A | 11.92 | 0.02581%

## Results
Samples |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8
Symbol | Catalog Number | UM | M | UM | M | UM | M | UM | M | UM | M | UM | M | UM | M | UM | M
FOXP3 | EPHS115010-1A | 99.86% | 0.1401%
SEC | EPHS115450-1A | Pass
DEC | EPHS115451-1A | Pass

## Calculations
Samples |  | 1 |  |  |  | 2 |  |  |  | 3 |  |  |  | 4 |  |  |  | 5 |  |  |  | 6 |  |  |  | 7 |  |  |  | 8 |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Symbol | Catalog Number | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double | Ct mock | Ct sensitive | Ct dependent | Ct double | 1: ΔCt(Msd-Mo) Ct(Msd)-Ct(Mo); 1: ΔCt(Ms-Mo) Ct(Ms)-Ct(Mo); 1: ΔCt(Md-Mo) Ct(Md)-Ct(Mo); 1: FR; 1: FHM; 1: FUM; 1: FIM; 1: FM
FOXP3 | EPHS115010-1A | 22.29 | 31.77 | 23.2 | 34.21 | [28 empty] | 1: 11.92; 1: 9.48; 1: 0.91; 1: 0.00025806; 1: 0.1401%; 1: 99.86%; 1: 4.163e-15%; 1: 0.1401%
SEC | EPHS115450-1A | 22.29 | 31.77 | 23.2 | 34.21 | [28 empty] | 1: 11.92; 1: 9.48; 1: 0.91; 1: 0.00025806; 1: 0.1401%; 1: 99.86%; 1: 4.163e-15%; 1: 0.1401%
DEC | EPHS115451-1A | 22.29 | 23.2 | 31.77 | 34.21 | [28 empty] | 1: 11.92; 1: 0.91; 1: 9.48; 1: 0.00025806; 1: 99.86%; 1: 0.1401%; 1: 0%; 1: 99.86%